Marlite Guide Specification                                                                                                   12/19/2012
Surface Systems - MAP375 System

Note:

This document contains information and notes in hidden text.

If you need assistance to view & hide text, instructions are at this link:

http://www.marlite.com/hidden-notes-instructions.aspx
Delete this note and hyperlink after editing is complete.

 The following specification has been developed by:

Marlite

202 Harger St.

Dover, Ohio 44622
Tel: (330) 343-6621 Fax: (330) 343-4668
Email:  info@marlite.com
Website: www.marlite.com
to assist Architects and Designers in the specification of Surface Systems MAP375, Mechanically Applied Panel systems that are attached to backup framing furring  or solid surfaces having appropriate support for installation of the systems.  Surface System MAP375 panels are available in solid phenolic, solid resin, LPM (low pressure melamine) or thermofused papers on wood fiber substrate and as Marlite Faux Prints on regular or no added formaldehyde medium density fiberboard composite wood substrates.  Most finishes are available as both Class A & Class C fire rated products   

Refer to separate Marlite Guide Specification Sections 09 7710 sections for other Marlite Framed Decorative Panel and Trim systems, Sections 06 2510 for Marlite prefinished panels, Section 09 7730 for Marlite decorative FRP panels, and Marlite Section 09 8430 for Acoustical Panels.

The section has been formatted in accordance with the principals embodied in the Construction Specifications  Institute's  Manual of Practice and is intended for use in conjunction with Contract Conditions, Bidding Conditions and General Requirements developed in accordance with CSI guidelines. Notes to the specifier are included. Options that must be selected by the specifier are shown in brackets [         ].   Inapplicable clauses shall be deleted.
SECTION 09 7710 – FRAMED DECORATIVE PANEL SYSTEMS

PART 1 -   GENERAL

1.1 SUMMARY
A. Section Includes:   Decorative 3/8” (9.5mm) thick  SEQ CHAPTER \h \r 1prefinished panel applied utilizing pre-engineered application hardware and trim systems, for installation direct to studs or solid substrate.
1. Hardware:  Aluminum Main Rails, Cross Splines and perimeter trim.

2. Panels:  
a. Ultra-durable solid phenolic with a decorative face. 

b. LPM or thermofused decorative paper laminated to wood fiber substrate.  
c. Marlite Print directly applied to a wood fiber substrate.
d. Custom direct digital graphic imaging on wood fiber substrate.

B. Products not furnished or installed under this section:

1. Wood Veneer casework.

2.  SEQ CHAPTER \h \r 1Gypsum board backup.
1.2 RELATED SECTIONS

A. Section [____] - Wood [Metal] Stud Framing
B. Section [____] - Custom Cabinets

C. Section [____] - Solid Wood Paneling

D. Section [____] - Gypsum Wallboard.
E. Section [____] - Painting & Transparent Finishes.

F. Section [____] - Resilient Base.
1.3 REFERENCES

References are listed as a convenience and are often deleted in their entirety.  If required by the user agency delete references from the list below that are not actually required by the text of the edited section

A. American Society for Testing and Materials:  Standard Specifications (ASTM)

1. ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.
B. Architectural Woodwork Standards as published by the Architectural Woodwork Institute, the Architectural Woodwork Manufacturers Association of Canada, and the Woodwork Institute.
1. Architectural Woodwork Standards - Edition 1.
1.4  SEQ CHAPTER \h \r 1SUBMITTALS

A.  SEQ CHAPTER \h \r 1Product Data:  Submit sufficient manufacturer's data to indicate compliance with these specifications, including:

1. Site preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation instructions or methods.  
B.  SEQ CHAPTER \h \r 1Shop Drawings:  As required, s SEQ CHAPTER \h \r 1ubmit elevations of each wall showing location of paneling and trim members with respect to all discontinuities in the wall elevation.
C.  SEQ CHAPTER \h \r 1Selection Samples:  Submit standard samples representing manufacturer's full range of available colors and patterns, as required by extent of project.

D. Samples for Verification:  As required, submit sample for each component and for each exposed finish. Mock-ups may be requested complete with exposed molding and trim samples.  Sample to indicate type, finish, and color specified.
1. Marlite Prints:  Submit 6” (154mm) by 10” (254mm) sample for each panel selected indicating the color, texture, and pattern required.

a. Submit complete with specified applied finish.

b. For selected patterns show complete pattern repeat. 
2. Ultra-durable solid phenolic panel:  Submit 6” (154mm) by 10” (254mm), or manufacturer’s standard “jumbo” sample, of each selected pattern or color.  When available, a manufacturer’s match in HPL may be substituted for full thickness product.
Most standard HPL (high pressure laminate) finishes are available as 3/8” solid phenolic panels.   Marlite can provide solid phenolic panels from most any major HPL manufacturer (Wilsonart, Pionite, Nevamar, etc.) or provide a harmonizing match. 
3. LPM (low pressure melamine) and Thermofused panels:  Submit 6” (154mm) by 10” (254mm), or manufacturer’s standard “jumbo” sample, of each selected pattern or color.  When available, a manufacturer’s match in HPL may be substituted for full thickness product.
4. Digital printed graphics: Submit samples as required to exhibit resolution of full size artwork and visual layout of entire graphic image.

E. Manufacturers Material Safety Data Sheets (MSDS) for adhesives, or other products as appropriate, are available and can be provided by request prior to material delivery to the site.

F. Installation and/or maintenance instructions

1.5  SEQ CHAPTER \h \r 1QUALITY ASSURANCE
ASTM E 84 Definition: Strict interpretation of the ASTM E 84 fire rating applies only to surface burning characteristics of a panel.  Marlite MAP375 System fire rated panels are intended to provide a class rating, as defined by ASTM E 84 classification, but are not intended to be included in the creation of fire rated demising wall construction.  ASTM E 84 fire rating for a Class A material requires a flame spread 25 or less, along with a smoke development maximum of 450.  ASTM E 84 fire rating for a Class C material requires a flame spread of between 26 and 200, along with a smoke development maximum of 450.

 Particular Marlite fire rated veneer construction panels are comprised of Class A components, as requested by a specifier to meet, or exceed, restrictions where rated fire retardant surfaces are required.  These panels are constructed utilizing a face veneer of a material that is less than 1/28" (.0357") thick which by definition does not contribute to or pose an unusual fire hazard. This is an allowed exemption for the face material, but not the substrate material which must be rated to the local code requirements (Class A or Class C) as required for a particular installation. 

As all current U.S. building fire rating codes are pertinent only to surface burning characteristics of applied materials, a balancing backer is not subject to scrutiny within fire ratings.

A. Conform to building code requirements for interior finish for smoke and flame spread requirements as tested in accordance with: 

1. ASTM E 84 (Method of test for surface burning characteristics of building Materials)  SEQ CHAPTER \h \r 1
2. Required Rating – Class [A] [C]. SEQ CHAPTER \h \r 1
1.6 DELIVERY, STORAGE AND HANDLING


A. Deliver panels and associated materials factory packaged on strong pallets and properly packaged or protected.  

1. Upon delivery carefully inspect all cartons, packages, pallets and protective wrap for damage or material shortage.

2. Open and inspect suspect packages, cartons or wrapped pallets for damage.

3. Contact shipper immediately to report any damaged or missing materials.

4. Contact Marlite @ (800) 377-1221 immediately to report any damaged or missing materials.

5. Contact Marlite @ (800) 377-1221 with any questions, problems or concerns.

B. Store products in manufacturer's unopened packaging until ready for installation.

1. Maintain plastic or other protective wrap in place during on site handling until ready for installation.

2. Keep panels clean and do not stack panels after removal of protection.

C. Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction. 
1.7  SEQ CHAPTER \h \r 1

 SEQ CHAPTER \h \r 1PROJECT CONDITIONS

A. Wood composite panels are subject to the effects of humidity and temperature.  Do not use in kitchens, rest rooms, or other high humidity areas.

B. Partition walls are to be finished and the building completely closed. Walls shall be thoroughly dry and concrete cured and dry before starting installation.
C. HVAC system should be operable and installation area balanced to normal operating conditions.
D. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  To ensure product performance, a temperature range of 60°-80°F (16°C-27°C) and a humidity range of 35-55% must be maintained during storage, installation and product life cycle.  Do not install products under environmental conditions outside manufacturer's absolute limits.
1.8  SEQ CHAPTER \h \r 1COORDINATION AND SEQUENCING

A. Except as specified locate hardware and trim members so that reveals are in line with doors, headers, jambs and other discontinuities in wall.

B.  SEQ CHAPTER \h \r 1Vapor barrier shall be used on exterior walls behind backing to discourage warping.

Delete the following if panels are not used on casework.
C. Coordinate with casework manufacturer.  When required, deliver material to the fabrication shop.

1.9  SEQ CHAPTER \h \r 1WARRANTY

For warranty revisions contact Marlite.
A. Standard Warranty:  All products shall be warranted to be free from defects for a period of 30 days after installation. 

PART 2 -  PRODUCTS

2.1 ACCEPTABLE PRODUCT 

A.  SEQ CHAPTER \h \r 1Marlite, 202 Harger Street, Dover, OH 4462.  Phone: 800-377-1221, Fax: (330) 343-4668 Email: info@marlite.com, website: www.marlite.com.

B. Product:  Surface Systems - MAP375 System
2.2 HARDWARE
A. Horizontal Main Rail support rail and vertical Cross Spline alignment framing.
Select or combine applicable reveal Systems from the following selections. 

1. MAP375 HMR - Hidden Main Rail, to create detailed 1/16” reveals.  Furnished in full 8’- 0” (2.44m) lengths.

2. MAP375 NMR - Narrow Main Rail, to create detailed 1/4” reveals.  Furnished in full 8’- 0” (2.44m) lengths.

3. MAP375 CMR - Channel Main Rail. , to create detailed 1/2” reveals.  Furnished in full 8’- 0” (2.44m) lengths.

4. MAP375 BMR - Broad Main Rail, to create detailed 1” reveals.  Furnished in full 8’- 0” (2.44m) lengths.

5. MAP375 HCS - Hidden Cross Spline, to create detailed 1/16” reveals.  Furnished cut-to-size to match panel.

6. MAP375 NCS - Narrow Cross Spline, to create detailed 1/4” reveals.  Furnished cut-to-size to match panel.

7. MAP375 CCS - Channel Cross Spline, to create detailed 1/2” reveals.  Furnished cut-to-size to match panel.

8. MAP375 BCS - Broad Cross Spline, to create detailed 1” reveals.  Furnished cut-to-size to match panel.

B. Panel Trim:  Aluminum Profiles furnished in full 10’- 0” (3.05 meters) lengths
Select Panel Trim from the list below. 

1. Outside Corner – Narrow profile; Marlite #NL375-760.
2. Edge/Inside Corner – Narrow profile; Marlite #NL375-770.
C. Hardware and Trim Material:   

1. Aluminum - Heavy weight extruded aluminum 6063-T5 alloy and prefinished at the factory. 

a. Concealed Aluminum - Mill finish
Select finish below. 

b. Exposed Aluminum - [Clear Satin anodized.][Black satin anodized.]

2.3 PANELS
Custom sizes are available.  Consult with Marlite before specifying.

A. Panel Configuration:

1. Face dimensions:  [Nominal 24” (61cm) wide x 24” (61cm) high.] [As indicated on the drawings]. 
2. Panel thickness - 3/8" (.95cm) thick.
Marlite finish, direct digital printed and LPM or thermofused panels are typically manufactured using various wood fiber substrates having either 75%, 82% or 100 % recycled wood waste.   Specification of a higher percentage may be available if required for environmental credits.    Composite wood substrate panels are subject to the effects of moisture and are not for use in kitchen, rest room or other high-humidity areas.  
B. Ultra-durable Solid Phenolic:  Solid phenolic with decorative pattern or color on exposed face.
1. Edges – Square cut and kerfed on all edges, to accept hardware.  Edges may be polished or burnished to reduce machining marks.

2. Color and Pattern: ________________________________________ [As selected by Architect from manufacturer’s standard selection.]
3. Panel composition:  [Good One Side][Good Two Sides (same finish both sides)]

C. Marlite Prints finish (Simulated Wood Grain): applied by offset gravure print process utilizing solid color oven-baked base paints, ink overprints and oven- baked protective topcoat.  Edges - Square, and sealed, to provide a black edge. 
1. Edges – Square cut and kerfed on all edges, to accept hardware.  Stained to provide a black edge.
Refer to Marlite website for applicable Wood-grain Series, Abstract Series and Textures Series options.
2.  Color and Pattern:  _________________________________________ [As selected by Architect from manufacturer's standard selection.]
D. Custom Digital Graphic Prints:  UV direct digital ink printed graphic over monochromatic base color with multi-step, heat cured, catalyzed top-coat.
1. Edges - Square cut and kerfed on all edges, to accept hardware.  Stained to provide a black edge
Custom Digital Graphics are produced via a proprietary Marlite Giclee Imaging Process.  

2. Color and Pattern: In accordance with Artwork available from the Architect.
E. LPM (low pressure melamine) and Thermofused:  Vertical grade high pressure plastic laminate adhered to wood fiber substrate. 

1. Edges – Square cut and kerfed on all edges, to accept hardware.  Stained to provide a black edge.

2. Balancing Backer:   Kraft Paper that does not contribute to or pose an unusual additional fire hazard. 
Refer to Marlite website for options.
3.  Color and Pattern:  _________________________________________  [As selected by Architect from manufacturer's standard selection.]
2.4 ADHESIVES

Marlite Brand C109 adhesive is recommended for installation of Surface Systems.  Marlite Brand C-109 adhesive is a solvent based material and local code restrictions may require substitution. Any adhesive substitution must have the manufacturer's approval.

A. Marlite Brand C-109 solvent based adhesive or as otherwise approved by Marlite.

2.5 FABRICATION

A. All framing, panels, hardware and accessories shall be factory finished and ready to install except for field fabrication as required by jobsite and perimeter conditions.

1. Refinish field cut panel edges in accordance with manufacturer’s instruction before installation.

2. For all cut-outs, drill corners for a minimum 1/8” radius.
PART 3 -  EXECUTION

3.1 EXAMINATION

A. Installer's Examination:  Examine conditions under which construction activities of this section are to be performed.  Submit written notification to Architect and system manufacturer if such conditions are unacceptable.  Beginning erection constitutes installer's acceptance of conditions.

1. Verify that a vapor barrier has been provided on exterior walls behind backing to prevent warping.

2. Verify backing panels are smooth, solid, and flat.  [All drywall joints are to be taped and finished]. 

3. Verify that walls are primed or sealed before installation begins.

4. Verify mechanical, electrical, and building items affecting work of this section are placed and ready to receive this work. 

5. Verify that stud spacing does not exceed 24” on-center.   

6. Verify that HVAC systems are operational and building environment is balanced to end use conditions.

B. Structural walls are to be finished, with building completely closed.   Walls shall be thoroughly dry before starting installation. 

3.2 PREPARATION

A. Conditioning:  Panels must be allowed to acclimate to a balanced environment in the installation location for 72 hours prior to installation. 

B. Protect existing surfaces with drop cloths.

Due to textures, wood grain patterns, materials and manufacturing techniques, some panels may vary in color consistency, tone and pattern.  These variations are expected and not to be considered as defects. Contact Marlite with questions or problems.

C. Except as directed by the architectural drawings, before installing, examine panels and arrange to achieve best combination of color, pattern, texture and grain.

3.3 INSTALLATION

A. Comply with manufacturer's recommended procedures and installation sequence.
1. Assure installed hardware to be straight, plumb and level.

2. Anchor units rigidly and securely in place. 
3. Cut sheets to meet existing supports.

B. Fasten supports and trim using recommended drill-tipped screws anchored into studs or other solid substrate at 32” (80 cm) c/c max.  Where hardware cannot be installed with screws, fasten with adhesive in accordance with the manufacturer’s recommendations.  Pre-drilling should not be necessary.  Use die line on extrusions for screw placement guide and fasten securely.
C. Avoid contamination of the panel faces with adhesives, solvents or cleaners during installation.

3.4 CLEANING AND PROTECTION

A. Clean and remove dust and other foreign matter from panel and framing surfaces.  Clean finishes in accordance with manufacturer's instructions.
END OF SECTION 09 7710















Special Wall Surface 
09  7710  - 1

